## Summary
Sizing document for presales to be sent to the customers. The aim of document is to provide a real view of the expecting monitoring.
# Sheets | Names | Description | Level
Sheets 1 | Summary | Overall description
Sheets 2 | Architecture | To be filled by the customer or the Pre-sales | Mandatory
Sheets 3 | MBI Sizing | MBI Sizing | Mandatory
Sheets 4 | Final sizing | Sizing depending of the number services/hosts and MBI sizing | Read Only
Sheets 5 | Remote Server Sizing | Remote server calculation sizing sheet | Optional
Sheets 6 | Poller Sizing | Poller calculation sizing sheet | Optional
How to filled the document
Expected format
Check Box | X
Value to fill | 84000 or POM |  | "Contact Centreon" | Thanks to contact us
Mandatory Box * | *
Read-only Box |  | Disk storage usage to store collected and performance data depends on various factors : - Frequency checks - Number of checks - Retention period The following table provides an idea of the disk space needed for your platform with : the data are collected every 5 minutes, The retention period is 6 month and Each performance graph have 2 curves

## Architecture
ORDER & ARCHITECTURE | [9 empty] | DETAILS
Number of hosts * | Number of services (calculated) | Number of services (wanted) | Number of metrics (calculated) | Number of metrics (wanted) | Number of BA | Type of Order * | Type of architecture * |  |  |  | Environnement OS client * | Which version? | Database type / version *
1000 | 10000 |  | 40000 |  |  | EMS | Simple (1 central) |  | Simple (1 central) |  | Redhat |  | MariaDB >= 10.1
[6 empty] | BAM | Distributed (1 central + X pollers) | x | Distributed (1 central + X pollers) |  | Centos |  | MySQL >= 5.6
[6 empty] | EPP | Distributed with remote Database (1 central + 1 DB + X pollers) |  | Distributed with remote Database (1 central + 1 DB + X pollers) |  | Others
Matrix | With or without | Number (calcuted) | Number (wanted) |  |  | MBI | Distributed with remote DB replicated |  | Distributed with remote DB replicated
POLLER | x | 2 |  |  |  | MAP | High Availibility 3 servers |  | High Availibility 3 servers
REMOTE SERVER |  | 0 |  |  |  |  | High Availibility 5 servers |  | High Availibility 5 servers
CENTRAL (poller's role) | X
Total Poller/remote server/central |  | 3
Total services by Poller/remote server/central |  | 3333.3333
RETENTION
Retention period configured in Central Server |  |  |  | Retention (Days)
Retention period of RRD performance graphs (in month) |  |  | 12 | 365
Retention period of performance data in MySQL database (in month) |  |  | 12 | 365
Retention of monitoring logs (in month) |  |  | 12 | 365
Reporting retention duration for dashboard (in month) |  |  | 12 | 365
Note on D7: mysql> use centreon_storage mysql> select count(i.id)/count(distinct(s.service_id)) as "metrics/services" from index_data i left join metrics m on i.id=m.index_id left join services s on s.service_id=i.service_id where i.service_id is not null;

## MBI Sizing
Rappel formule
(days * hosts * hostgroup * hostcategory * liveservices * 71) / 1024 / 1024 / 1024
Parameters | Values | [5 empty] | (months * months_incidents * hostgroup * hostcategory * services * servicecategory * 39) / 1024 / 1024 / 1024
Total monitored hosts | 1000 | [5 empty] | (months * months_incidents * hostgroup * hostcategory * hosts * 39) / 1024 / 1024 / 1024
Total monitored services | 10000 | [5 empty] | (days * 24 * hostgroup * hostcategory * services * servicecategory * metrics * 3105) / 1024 / 1024 / 1024
Average number of host groups associated to one host | 1 | [5 empty] | (days * hostgroup * hostcategory * services * servicecategory * metrics * 4131) / 1024 / 1024 / 1024
Average number of host categories associated to one host | 2
Average number of service categories associated to one service | 2 |  |  |  |  | TUTORIAL
Number of timeperiods on which statistics will be calculated | 3
Average number of service alarms by month (by service) | 15
Average number of host alarms by month (by host) | 5
Average number of metrics by service | 4
Average service check interval in minutes | 5
Coef (between 2 and 2,8)
2.8
Type of data processed | Data retention duration (in DAYS) | Size Estimated (MB) | Rows estimated | Avg row size | Index/Line (worst case)
Raw performance data imported from Centreon (<= 1024 days) | 30 | 9228.5156 | 345600000 | 14 | -
Performance data agregated by hour (<= 1024 days) | 90 | 42583.0078 | 345600000 | 62 | 67.2
Performance data agregated by day (<= 1024 days) | 180 | 11700.4395 | 86400000 | 72 | 70
Raw log data imported from Centreon | 180 | 134.9258 | 900000 | 90 | 67.2
Availability data agregated by day (<= 1024 days) | 180 | 4787.226
Host events | 180 | 29.3707 | 174193.5484 | 76 | 100.8
Services events | 180 | 1562.8938 | 10451612.9032 | 56 | 100.8
Host availability | 180 | 146.2555 | 1080000 | 72 | 70
Service availability | 180 | 3048.7061 | 21600000 | 78 | 70
| Total in MB | 68434.1148
500 | 10 | 0.02
2000 | 42 | 0.021
10000 | 126 | 0.0126
20000 | 252 | 0.0126
50000 | 660 | 0.0132
100000 | 1400 | 0.014
0.013
500 | 2.5 | 0.005
2000 | 10 | 0.005
10000 | 30 | 0.003
20000 | 60 | 0.003
50000 | 150 | 0.003
100000 | 600 | 0.006
0.0041667

## Final sizing
PARAMETRES expert Central
Quantité service |  | Limite Basse Central | Limite Haute Central |  | /var/lib/mysql GB | /var/lib/Centreon GB | Limite de service supervisé BI |  |  | Seuil Poller | Seuil MAP | Seuil MBI | Nombre de service | Nombre de métric |  | Nombre de service par remote serveur | Coefficient BBD | Coefficient Lib/centreon | Coefficient Lib/centreon
1er niveau |  | 0 | 500 |  | 10 | 2.5 | 4000 |  |  | 7500 | 10000 | 4000 | 10000 | 40000 |  | 3333.3333 | 0.013 | 0.0041667 | 0.14
2ème niveau |  | 500 | 2000 |  | 42 | 10 | 20000 |  |  | 10000 | 20000 | 20000
3ème niveau |  | 2000 | 7000 |  | 210 | 50 | 40000 |  |  |  | 40000 | 40000
4ème niveau |  | 7000 | 14000 |  | 420 | 100 | 100000 |  |  |  | 100000 | 100000
5ème niveau |  | 14000 | 21000 |  | 1100 | 250
6ème niveau |  | 21000 | 100000 |  | 2300 | 1000
Automatic Sizing
Architecture Distributed (1 central + X pollers) |  | Each components have to be taken into consideration | X |  | X
|  |  | 1 Server central | Database server inside the central GB | 2 Poller(s) | 0 Remote Server |  |  | Server Centreon MAP |  |  | Server Centreon BI |  |  |  | Server Quorum
|  | Components | [6 empty] | Components |  |  | Components |  |  |  | Components
|  | CPU | 4vCPU | X | 2vCPU | X |  |  | CPU | X |  | CPU | X |  |  | CPU | X
|  | Memory GB | 8 | X | 2 | X |  |  | Memory GB | X |  | Memory GB min | X |  |  | Memory GB | X
|  | Disk Partitions | Sizing in GB | Sizing in GB | Sizing in GB | Sizing in GB |  |  | Disk Partitions | Sizing in GB |  | Disk Partitions | Sizing in GB |  |  | Disk Partitions | Sizing in GB
|  | /boot | 1 | X | 1 | X |  |  | /boot | X |  | /boot | X |  |  | /boot | X
| Volume group (LVM) vg_root | / At least 20GB | 20 | X | 20 | X |  | Volume group (LVM) vg_root | / At least 20GB | X | Volume group (LVM) vg_root | / At least 20GB | X |  | Volume group (LVM) vg_root | / At least 20GB | X
|  | swap | 8 | X | 2 | X |  |  | swap | X |  | swap | X |  |  | swap | X
|  | /var/log At least 10GB | 10 | X | 10 | X |  |  | /var/log/ | X |  | /var/log/ | X |  |  | /var/log/ | X
| Volume group (LVM) vg_data | /var/lib/centreon | 27 |  |  | X |  | Volume group (LVM) vg_data | /var/lib/mysql | X | Volume group (LVM) vg_data | /var/lib/mysql | X |  |  | Size of server | 0
|  | /var/lib/centreon-broker At least 5GB | 5 |  |  | X |  |  | FREE SPACE for the BBD group volume | 2 |  | /var/backup/ | X
|  | /var/lib/centreon-engine At least 5GB | 5 |  | 5 | X |  |  | Size for each server | 2 |  | FREE SPACE for the BBD group volume | 5
|  | /var/lib/mysql | 213.1234 | X |  | X |  |  | Total size | 2 |  | Size of server | 5
|  | /var/cache/centreon/backup | 10 | X |  | X
|  | FREE SPACE for the BBD group volume | 5 | X |  |  |  |  | X
|  | Size for each server | 304.1234 | 0 | 38 | 0
|  | Total size | 304.1234 | 0 | 76 | 0
[12 empty] | TOTAL SIZE GB | 387.1234
cvgc
Note on C24: Auteur: /boot et vg_free
Note on J24: Auteur: /boot et vg_free
Note on N24: Auteur: /boot et vg_free
Note on R24: Auteur: /boot et vg_free
Note on O25: Auteur: 10G Max

## Remote Server Sizing
ONE REMOTE SERVER SIZING SHEET (It is a new calculation)
For this branch , total of hosts | 1000
For this branch , total of services | 10000
For this branch , total of metrics
Retention period configured in the remote server |  |  |  | Retention (Days)
Retention period of RRD performance graphs (in month) |  |  | 6 | 182.5
Retention period of performance data in MySQL database (in month) |  |  | 6 | 182.5
Retention of monitoring logs (in month) |  |  | 1 | 30.4167
Reporting retention duration for dashboard (in month) |  |  | 12 | 365
Matrix | With or without | Number (calcuted) | Number (wanted)
POLLER under the remote server | X | 2
Remote serveur is monitoring?
Total Poller |  | 2
Total Services by Poller |  | 5000
Total Services (direct check + under poller) |  | 10000
|  | 1 Remote Server | 2 Poller(s)
Components
| CPU | 4vCPU | 2vCPU
| Memory GB | 8 | 2
| Disk Partitions | Sizing in GB | Sizing in GB
| /boot | 1 | 1
Volume group (LVM) vg_root | / At least 20GB | 20 | 20
| swap | 8 | 2
| /var/log At least 10 GB | 10 | 10
Volume group (LVM) vg_data | /var/lib/centreon | 13.5
| /var/lib/centreon-broker At least 5GB | 5 | 5
| /var/lib/centreon-engine At least 5GB | 5 | 5
| /var/lib/mysql | 106.5442
| /var/cache/centreon/backup/ | 10
| FREE SPACE for the BBD group volume | 5
| Size for each server | 176.0442 | 36
| Total size | 248.0442
Note on B27: Auteur: /boot et vg_free

## RS so Main server and BI serve (hidden)
Quality system CENTREON |  |  | Usage strictly confidential to CENTREON and its partners | [6 empty] | Do not print this
CUSTOMER_NAME |  |  |  | PROJECT_ID
Calculation matrix for Centreon main server and BI server
Calcul Parameters | 1. Service monitored by Central Server
| Service type | Service number | Average number of metrics per service | Regular control's interval (in minutes) | Total of metrics per service's type | Number of records in data_bin tables | Number of event entries estimated on retention period | Size of metrics RRD per type of service per check interval | Size of status RRD per type of service per check interval
| DB - MS SQL checks | 10000 | 2 | 5 | 20000 | 1051200000 | 1051200000 | 9000000000 | 4500000000
| DB - MySQL checks | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| DB - Oracle checks | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| HTTP checks | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment load | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment memory | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment SNMP Traps | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment traffic | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| OS - CPU usage | 0 | 4 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Disk status | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0
| OS - File system usage | 0 | 2 | 60 | 0 | 0 | 0 | 0 | 0
| OS - LOAD | 0 | 3 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Memory usage | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Process state | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Service state | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| OS - SNMP Traps (passive services) | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| OS - SWAP | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Traffic | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| Printer - cartridge status | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 0
| Printer - number of page | 0 | 3 | 300 | 0 | 0 | 0 | 0 | 0
| SAN - Global health | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| SAN - Storage usage | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| UPC - Global health | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
|  | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
|  | 0 | 2 | 5 | 0
| Total number of hosts | 0 | 0 |  | 10000
|  |  | Total number of RRD files in « metrics » directory |  | 20000
|  |  | Total number of RRD files in « status » directory |  | 10000
Calcul Parameters
| 3. Monitoring events in Central Server |  |  |  | Number of events
| Warning events per day |  |  |  | 500 |  |  |  |  | %5 of services, can be set manually
| Critical events per day |  |  |  | 200 |  |  |  |  | %2 of services, can be set manually
| 4. Parameters for Reporting Server |  |  |  | Values
| Average number of host groups associated to one host |  |  |  | 2 |  |  |  |  | Average, can be set manually
| Average number of host categories associated to one host |  |  |  | 2 |  |  |  |  | Average, can be set manually
| Average number of service categories associated to one service |  |  |  | 2 |  |  |  |  | Average, can be set manually
| Number of timeperiods on which statistics will be calculated |  |  |  | 3 |  |  |  |  | Average, can be set manually
| Average number of service alarms by month (by service) |  |  |  | 1.5
| Average number of host alarms by month (by host) |  |  |  | 0
| Average number of metrics by service |  |  |  | 2
| Average service check interval in minutes |  |  |  | 5
| 5. Type of data processed (Reporting Server) |  | Data granularity | Data retention duration (in month) | Size Estimated (MB) | Rows estimated | Avg row size | Index/Line (worst case)
| Host availability |  | day | 6 | 0 | 0 | 72 | 70 |  | Average, can be set manually
| Host group availability |  | month | 24 | 0.095142 | 288 | 254 | 92.4 |  | Average, can be set manually
| Service availability |  | day | 6 | 6300.6592 | 44640000 | 78 | 70 |  | Average, can be set manually
| Availability of services agregated by host groups |  | month | 24 | 0.11613 | 576 | 119 | 92.4 |  | Average, can be set manually
| Services events |  | second | 6 | 322.998 | 2160000 | 56 | 100.8 |  | Average, can be set manually
| Host events |  | second | 6 | 0 | 0 | 76 | 100.8 |  | Average, can be set manually
| Performance data by metric |  | hour | 3 | 44002.4414 | 357120000 | 62 | 67.2 |  | Average, can be set manually
| Performance data by metric |  | day | 6 | 12090.4541 | 89280000 | 72 | 70 |  | Average, can be set manually
| Performance data by metric |  | second | 1 | 4768.0664 | 178560000 | 14 | - |  | Average, can be set manually
Informations about disk space | 6. Estimation of storage's size of Central Server |  | Directory |  | Size (GB) | RRD
| Space for File System | Performance graphs | /var/lib/centreon/metrics/ |  | 9 | 13.5
|  | Status graphs of services | /var/lib/centreon/status/ |  | 4.5
| Space for Database | MySQL 'data_bin' table | /var/lib/mysql/centreon_storage/data_bin.* |  | 42.048
|  | MySQL 'logs' table | /var/lib/mysql/centreon_storage/logs.* |  | 0.84024
|  | MySQL reporting tables | /var/lib/mysql/centreon_storage/log_archive_* |  | 0.584
| Space for Maintenance | MySQL storage space estimated for maintenance requirements |  |  | 63.072
| Total disk space required for Central Server (in GB) |  |  |  | 120.0442 | 106.5442 |  | Coef (between 2 and 2,8)
2.8
| Disk space required for Reporting Server (in GB) |  |  |  | 67.4848

## RS Main server and BI server (hidden)
Quality system CENTREON |  |  | Usage strictly confidential to CENTREON and its partners | [6 empty] | Do not print this
CUSTOMER_NAME |  |  |  | PROJECT_ID
Calculation matrix for Centreon main server and BI server
Calcul Parameters | 1. Service monitored by Central Server
| Service type | Service number | Average number of metrics per service | Regular control's interval (in minutes) | Total of metrics per service's type | Number of records in data_bin tables | Number of event entries estimated on retention period | Size of metrics RRD per type of service per check interval | Size of status RRD per type of service per check interval
| DB - MS SQL checks | 3333.3333 | 2 | 5 | 1666.6667 | 175200000 | 350400000 | 1500000000 | 3000000000
| DB - MySQL checks | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| DB - Oracle checks | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| HTTP checks | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment load | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment memory | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment SNMP Traps | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment traffic | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| OS - CPU usage | 0 | 4 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Disk status | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0
| OS - File system usage | 0 | 2 | 60 | 0 | 0 | 0 | 0 | 0
| OS - LOAD | 0 | 3 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Memory usage | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Process state | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Service state | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| OS - SNMP Traps (passive services) | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| OS - SWAP | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Traffic | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| Printer - cartridge status | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 0
| Printer - number of page | 0 | 3 | 300 | 0 | 0 | 0 | 0 | 0
| SAN - Global health | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| SAN - Storage usage | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| UPC - Global health | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
|  | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
|  | 0 | 2 | 5 | 0
| Total number of hosts | 1000 | Total number of services |  | 3333.3333
|  |  | Total number of RRD files in « metrics » directory |  | 1666.6667
|  |  | Total number of RRD files in « status » directory |  | 3333.3333
Calcul Parameters
| 3. Monitoring events in Central Server |  |  |  | Number of events
| Warning events per day |  |  |  | 166.6667 |  |  |  |  | %5 of services, can be set manually
| Critical events per day |  |  |  | 66.6667 |  |  |  |  | %2 of services, can be set manually
| 4. Parameters for Reporting Server |  |  |  | Values
| Average number of host groups associated to one host |  |  |  | 2 |  |  |  |  | Average, can be set manually
| Average number of host categories associated to one host |  |  |  | 2 |  |  |  |  | Average, can be set manually
| Average number of service categories associated to one service |  |  |  | 2 |  |  |  |  | Average, can be set manually
| Number of timeperiods on which statistics will be calculated |  |  |  | 3 |  |  |  |  | Average, can be set manually
| Average number of service alarms by month (by service) |  |  |  | 1.5
| Average number of host alarms by month (by host) |  |  |  | 2
| Average number of metrics by service |  |  |  | 2
| Average service check interval in minutes |  |  |  | 5
| 5. Type of data processed (Reporting Server) |  | Data granularity | Data retention duration (in month) | Size Estimated (MB) | Rows estimated | Avg row size | Index/Line (worst case)
| Host availability |  | day | 6 | 302.2614 | 2232000 | 72 | 70 |  | Average, can be set manually
| Host group availability |  | month | 24 | 0.095142 | 288 | 254 | 92.4 |  | Average, can be set manually
| Service availability |  | day | 6 | 2100.2197 | 14880000 | 78 | 70 |  | Average, can be set manually
| Availability of services agregated by host groups |  | month | 24 | 0.11613 | 576 | 119 | 92.4 |  | Average, can be set manually
| Services events |  | second | 6 | 107.666 | 720000 | 56 | 100.8 |  | Average, can be set manually
| Host events |  | second | 6 | 24.2798 | 144000 | 76 | 100.8 |  | Average, can be set manually
| Performance data by metric |  | hour | 3 | 14667.4805 | 119040000 | 62 | 67.2 |  | Average, can be set manually
| Performance data by metric |  | day | 6 | 4030.1514 | 29760000 | 72 | 70 |  | Average, can be set manually
| Performance data by metric |  | second | 1 | 1589.3555 | 59520000 | 14 | - |  | Average, can be set manually
Informations about disk space | 6. Estimation of storage's size of Central Server |  | Directory |  | Size (GB) | RRD
| Space for File System | Performance graphs | /var/lib/centreon/metrics/ |  | 1.5 | 4.5
|  | Status graphs of services | /var/lib/centreon/status/ |  | 3
| Space for Database | MySQL 'data_bin' table | /var/lib/mysql/centreon_storage/data_bin.* |  | 7.008
|  | MySQL 'logs' table | /var/lib/mysql/centreon_storage/logs.* |  | 0.3396
|  | MySQL reporting tables | /var/lib/mysql/centreon_storage/log_archive_* |  | 0.66133
| Space for Maintenance | MySQL storage space estimated for maintenance requirements |  |  | 10.512
| Total disk space required for Central Server (in GB) |  |  |  | 23.0209 | 18.5209 |  | Coef (between 2 and 2,8)
2.8
| Disk space required for Reporting Server (in GB) |  |  |  | 22.8216

## Main server and BI server (hidden)
Quality system CENTREON |  |  | Usage strictly confidential to CENTREON and its partners | [6 empty] | Do not print this
CUSTOMER_NAME |  |  |  | PROJECT_ID
Calculation matrix for Centreon main server and BI server
Calcul Parameters | 1. Service monitored by Central Server
| Service type | Service number | Average number of metrics per service | Regular control's interval (in minutes) | Total of metrics per service's type | Number of records in data_bin tables | Number of event entries estimated on retention period | Size of metrics RRD per type of service per check interval | Size of status RRD per type of service per check interval |  | Coeff à revoir /à recalculer suivant
| DB - MS SQL checks | 10000 | 2 | 5 | 20000 | 2102400000 | 1051200000 | 18000000000 | 9000000000 |  | 450000
| DB - MySQL checks | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| DB - Oracle checks | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| HTTP checks | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment load | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment memory | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment SNMP Traps | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| Network equipment traffic | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| OS - CPU usage | 0 | 4 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Disk status | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0
| OS - File system usage | 0 | 2 | 60 | 0 | 0 | 0 | 0 | 0
| OS - LOAD | 0 | 3 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Memory usage | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Process state | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Service state | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| OS - SNMP Traps (passive services) | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| OS - SWAP | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| OS - Traffic | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| Printer - cartridge status | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 0
| Printer - number of page | 0 | 3 | 300 | 0 | 0 | 0 | 0 | 0
| SAN - Global health | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
| SAN - Storage usage | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
| UPC - Global health | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
|  | 0 | 2 | 5 | 0 | 0 | 0 | 0 | 0
|  | 0 | 2 | 5 | 0
| Total number of hosts | 1000 | Total number of services |  | 10000 |  |  |  | 2.5
|  |  | Total number of RRD files in « metrics » directory |  | 20000 |  |  |  | 25
|  |  | Total number of RRD files in « status » directory |  | 10000
Calcul Parameters
| 3. Monitoring events in Central Server |  |  |  | Number of events
| Warning events per day |  |  |  | 500 |  |  |  |  | %5 of services, can be set manually
| Critical events per day |  |  |  | 200 |  |  |  |  | %2 of services, can be set manually
| 4. Parameters for Reporting Server |  |  |  | Values
| Average number of host groups associated to one host |  |  |  | 2 |  |  |  |  | Average, can be set manually
| Average number of host categories associated to one host |  |  |  | 2 |  |  |  |  | Average, can be set manually
| Average number of service categories associated to one service |  |  |  | 2 |  |  |  |  | Average, can be set manually
| Number of timeperiods on which statistics will be calculated |  |  |  | 3 |  |  |  |  | Average, can be set manually
| Average number of service alarms by month (by service) |  |  |  | 1.5
| Average number of host alarms by month (by host) |  |  |  | 6
| Average number of metrics by service |  |  |  | 2
| Average service check interval in minutes |  |  |  | 5
| 5. Type of data processed (Reporting Server) |  | Data granularity | Data retention duration (in month) | Size Estimated (MB) | Rows estimated | Avg row size | Index/Line (worst case)
| Host availability |  | day | 6 | 302.2614 | 2232000 | 72 | 70 |  | Average, can be set manually
| Host group availability |  | month | 24 | 0.095142 | 288 | 254 | 92.4 |  | Average, can be set manually
| Service availability |  | day | 6 | 6300.6592 | 44640000 | 78 | 70 |  | Average, can be set manually
| Availability of services agregated by host groups |  | month | 24 | 0.11613 | 576 | 119 | 92.4 |  | Average, can be set manually
| Services events |  | second | 6 | 322.998 | 2160000 | 56 | 100.8 |  | Average, can be set manually
| Host events |  | second | 6 | 72.8394 | 432000 | 76 | 100.8 |  | Average, can be set manually
| Performance data by metric |  | hour | 3 | 44002.4414 | 357120000 | 62 | 67.2 |  | Average, can be set manually
| Performance data by metric |  | day | 6 | 12090.4541 | 89280000 | 72 | 70 |  | Average, can be set manually
| Performance data by metric |  | second | 1 | 4768.0664 | 178560000 | 14 | - |  | Average, can be set manually
Informations about disk space | 6. Estimation of storage's size of Central Server |  | Directory |  | Size (GB) | RRD
| Space for File System | Performance graphs | /var/lib/centreon/metrics/ |  | 18 | 27
|  | Status graphs of services | /var/lib/centreon/status/ |  | 9
| Space for Database | MySQL 'data_bin' table | /var/lib/mysql/centreon_storage/data_bin.* |  | 84.096
|  | MySQL 'logs' table | /var/lib/mysql/centreon_storage/logs.* |  | 0.89937
|  | MySQL reporting tables | /var/lib/mysql/centreon_storage/log_archive_* |  | 1.984
| Space for Maintenance | MySQL storage space estimated for maintenance requirements |  |  | 126.144
| Total disk space required for Central Server (in GB) |  |  |  | 240.1234 | 213.1234 |  | Coef (between 2 and 2,8)
2.8
| Disk space required for Reporting Server (in GB) |  |  |  | 67.8599

## Poller Sizing
ONE POLLER SIZING SHEET (It is a new calculation)
For this branch , total of hosts
For this branch , total of services | 6000
For this branch , total of metrics
| Matrice de Calcul | Avec ou sans | Nombre calculé | Nombre souhaité
| POLLER | X | 1 | 1
1 Poller
Components
| CPU | 2vCPU
| Memory GB | 2
| Disk Partitions | Sizing in GB
| /boot | 1
Volume group (LVM) vg_root | / At least 20GB | 20
| swap | 2
| /var/log At least 10 GB | 10
Volume group (LVM) vg_data | /var/lib/centreon-engine At least 5GB | 5
| Total size | 36
Note on B16: Auteur: /boot et vg_free
Note on G16: Auteur: /boot et vg_free

## AVV config (hidden)
CONSULTER CENTREON
|  | Central | Serveur Base de données | Poller | Remote server | Serveur MAP | Serveur MBI
| CPU |  |  |  |  | Contact Centreon | Contact Centreon
| Mémoire | Contact Centreon | Contact Centreon |  |  | Contact Centreon | Contact Centreon
| /var/backup | 10
/Var/lib/centreon/broker
| Coefficient /var/lib/mysql | 1 | 1
| Coefficient /var/lib/centreon | 1 |  |  | Contact Centreon
| Espace libre volume groupe BBD | 5